## Variables
Variable Category | Variable | Data Source | Context | Notes
Farm Characteristics | Crop yield/revenue
Farm Characteristics | Opportunity cost
Farm Characteristics | Solar potential | NREL: National Solar Radiation Database (NSRDB)
Farm Characteristics | Land market value | USDA Census of Agriculture or Nolte (2020)
Farm Characteristics | Solar Lease value of land
Farm Characteristics | Farm size | USDA Census of Agriculture
Farm Characteristics | Land suitability for agriculture | FAO: GAEZ 4 - Suitability and Attainable Yield
Farm Characteristics | Water availability | FAO: GAEZ 1- Land and Water resources or chrips (r package)
Farm Characteristics | Topography | geodata (r package) or elevatr (r package)
Farm Characteristics | Soil fertility | FAO: GAEZ or USDA Soil Survey (SSURGO)
Farm Characteristics | Proximity to grid interconnection point | US Dept. of Homeland Security - Homeland Infrastructure Foundation Level Database (HIFLD) | For utility-scale solar to be economically feasible, it must be less than a mile from a three-phase transmission line or within a few miles of a substation, which can convert direct current from a solar project into alternating current for the electrical grid (Solar Land Lease 2022) | Could not find spatial data on interconnection points, but could find for transmission lines in general. It does also appear that there used to be publicly acessible data on substations, but after recent attacks on substations the data has been made secure and for official use only, so I can not access without a government sponsor | Larger commercial projects, such as a community solar farm, usually need to be connected to a three-phase distribution line. Utility-scale projects either connect directly to a substation or a transmission line of 69 kV or higher. Unless a solar farm is installed next to transmission lines or substations, the solar contractor needs to install a generation tie to connect the clean energy project to the grid. These are expensive to construct and can have a significant impact on the project’s return on investment. Therefore, close proximity to transmission lines or a substation is preferable.
Farm Characteristics | Proximity to populated areas | US Census (tidycensus)
Farmer Charateristics | Landowner status | USDA Census of Agriculture
Farmer Charateristics | Education | USDA Census of Agriculture
Farmer Charateristics | Age | USDA Census of Agriculture
Farmer Charateristics | Years farming | USDA Census of Agriculture
Farmer Charateristics | Climate sentiment | YPCCC
Policy | State Renweable Portfolio Standards (RPS)
Policy | Net metering policies
Policy | Interconnection policies
Policy | Gov’t subsidies/incentives
Policy | Zoning/conservation laws
Social | Community PV sentiment | YPCCC
Social | Community identity
Social | Neighboring influence (proximity to neighbors who have switched to solar)
Social | Farming association prevalence
https://www.paulamoraga.com/book-spatial/r-packages-to-download-open-spatial-data.html

## Variables v2
Variable | Data Source | Earliest Data | Latest Data | Temporal Resolution | Geographical extent | Geographical Resolution | Data Format | Time Series Required? | Likely to find Time-Series
Power Plant Location/MW/Type | EIA Energy Atlas | 2024-06-01 | 2024-06-01 | N/A (Cross-sectional) | USA + PR | Point - Plant | CSV, geoJSON, SHP | Yes | N/A
Generator Location/MW/Type | EIA-860M | 2002-01-01 | 2024-09-01 | Monthly | USA + PR | Point - Generator | CSV (includes Lat/Long) | Yes | N/A
Average daily total solar resource (GHI) (1998-2016) | NREL Solar Resource Maps and Data | 1998 | 2016 | N/A (Aggregate) | USA + PR | Raster - 0.038-degree latitude by 0.038-degree longitude (nominally 4 km x 4 km) | TIF | No | N/A
Estimated Land Fair Market Value | Nolte (2020) | 2010 | 2010 | N/A (Cross-sectional) | Cont. USA |  | TIF | Yes | No
Dist. To HV power line | HIFLD | 2023 | 2023 | N/A (Cross-sectional) | USA + PR | Line | CSV, geoJSON, SHP | Yes | No
Land Usage/ Surrounding Land Usage? | USDA NASS | 2008 | 2023 | Annual | Cont. USA | Raster - spatial resolution of 30 meters | TIF | Yes | N/A
Average Slope | To be caluculated using elevation data from geodata package | [6 empty] | No | N/A
Avg. Retail Price of Electricity | EIA Electricity Data Browser | 2001-01-01 | 2024-08-01 | Monthly | USA | State | CSV | Yes | N/A
# Customer Accounts (by sector by state) | EIA Electricity Data Browser | 2008-01-01 | 2024-08-01 | Monthly | USA | State | CSV
Levelize Cost of Energy by Source | Can't find good data
Power generator avg. construction cost by type | EIA-860: Construction cost data | 2013 | 2022 | Annual | USA | Country
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This data is certainly good enough, but the EIA-860M provides data at an even smaller resolution, at the generator level rather than the plant level. Additionally, the EIA 860M is available up to September 2024. Reply: According to the September EIA-860M, 28 power plants in the contiguous US (157.2 MW total) that appeared in this dataset are now retired. Only 1 of these power plants was retired between the reported time of the power plant Energy Atlas data (June 2024) and September 2024 EIA-860M. One power plant that appears in the Energy Atlas does not appear in the Sept. 2024 EIA-860M. (Exeter Bulk Plant Array)
Note on C3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The oldest generator in the database is from 1891, but the data on retired power plants only goes back to 2002
Note on B6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Calculated using the EIA Energy Atlas data and the HIFLD transmission line data.
Note on B11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Can’t find historical data, but there are LCOE Projections on NREL’s SLOPE Data Viewer

## Data Sources
Catergory | Data source | Description | Years | Type | Resolution | Comments | Other important info
Solar | NREL: National Solar Radiation Database (NSRDB) | Solar irradiance geospatial data | 1998-2024 | Raster | 4km | Can potentially use the R package SolarData | SolarData package by D. Yang in 2018
Land/Environment | USDA NASS | Cropland/cultivated land geospatial data | 2008-2023 (for complete US data) | Raster | 30 meters or 56m depending on year and state | National files downloaded by year from link | FAQs
Land/Environment | FAO: GAEZ Data | The GAEZ v4 spatial data are organized in six themes: (1) Land and Water Resources (2) Agro-climatic Resources (3) Agro-climatic Potential Yield (4) Suitability and Attainable Yield (5) Actual Yields and Production (6) Yield and Production Gaps |  | Raster
Policy/Social | tidycensus (R Package) | An integrated R interface to several United States Census Bureau APIs (<https://www.census.gov/data/developers/data-sets.html>) and the US Census Bureau's geographic boundary files. Allows R users to return Census and ACS data as tidyverse-ready data frames, and optionally returns a list-column with feature geometry for mapping and spatial analysis. | 2000-2024
Policy/Social | tigris (R Package) | Downloads US geographic boundaries including census tracts, counties, and states.
Land/Environment | geodata (R package) | Facilitates access to climate, crops, elevation, land use, soil, species occurrence, accessibility, administrative boundaries and other data.
Land/Environment | chirps (R Package) | Rainfall data
Land/Environment | elevatr (R Package) | Provides elevation data
Policy/Social | osmdata (R Package) | Accesses OpenStreetMap (OSM) data including roads, shops, and other features.
Policy/Social | wbstats (R package) | Downloads socio-economic data from the World Bank API, including global indicators.
Infrastructure | US Dept. of Homeland Security - Homeland Infrastructure Foundation Level Database (HIFLD) | This feature class/shapefile represents electric power transmission lines. Transmission Lines are the system of structures, wires, insulators and associated hardware that carry electric energy from one point to another in an electric power system. Lines are operated at relatively high voltages varying from 69 kV up to 765 kV, and are capable of transmitting large quantities of electricity over long distances. Underground transmission lines are included where sources were available. | Last updated 12/11/2022 | Vector
Policy/Social | Yale Program on Climate Change Communication: Yale Climate Opinion Maps | Various survey questions regarding climate change opinions throughout the US, estimated to the county level. Complete county level data appears to be from 2018 onwards. Complete state level data can appear (dependend on variable) from 2010 onwards | 2010-2023 | Dataset | County
Policy/Social | Yale Program on Climate Change Communication: Yale Climate Change in the American Mind | ~33k observations at the individual level, questions on climate change opinions, socioeconomics and demographics from Nov. 2008 to Oct. 2023. Geographically, only specific to the regional level (e.g. New England) | 2008-2023 | Dataset | Region
Land/Environment | USDA: Gridded Soil Survey Geographic (gSSURGO-30) Database for the Conterminous United States | This dataset is called the Gridded SSURGO (gSSURGO) Database and is derived from the Soil Survey Geographic (SSURGO) Database. SSURGO is generally the most detailed level of soil geographic data developed by the National Cooperative Soil Survey (NCSS) in accordance with NCSS mapping standards. The tabular data represent the soil attributes, and are derived from properties and characteristics stored in the National Soil Information System (NASIS). The gSSURGO data were prepared by merging traditional SSURGO digital vector map and tabular data into a Conterminous US-wide extent, and adding a Conterminous US-wide gridded map layer derived from the vector, plus a new value added look up (valu) table containing "ready to map" attributes. The gridded map layer is offered in an ArcGIS file geodatabase raster format. The most detailed soil map of the U.S. - SSURGO- has about 36 million polygons representing ~289,000 unique soil map units from ~3600 independent soil surveys. |  | Raster | 30meter cell size | Web Soil Survey Tool
| USDA NASS: Census of Agriculture |  |  | Dataset | County | Web Census Map Tool
Land/Environment | Nolte (2020) | High-resolution maps of the estimated value of private lands in the contiguous United States. |  | Raster
Solar | USGC: The U.S. Large-Scale Solar Photovoltaic Database | The United States Large-Scale Solar Photovoltaic Database (USPVDB) provides the locations and array boundaries of U.S. ground-mounted photovoltaic (PV) facilities with capacity of 1 megawatt or more. It includes corresponding PV facility information, including panel type, site type, and initial year of operation. The creation of this database was jointly funded by the U.S. Department of Energy (DOE) Solar Energy Technologies Office (SETO) via the Lawrence Berkeley National Laboratory (LBNL) Energy Markets and Policy Department, and the U.S. Geological Survey (USGS) Energy Resources Program. The PV facility records are collected from the U.S. Energy Information Administration (EIA), position-verified and digitized from aerial imagery, and checked for quality. EIA facility data are supplemented with additional attributes obtained from public sources. |  | Vector
Solar | SAM/PySAM | The System Advisor Model™ (SAM™) is a free desktop application for techno-economic analysis of energy technologies. It is used by project managers and engineers, policy analysts, technology developers, and researchers to investigate questions about the technical, economic, and financial feasibility of renewable energy projects.
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For estimating solar energy potential for an area, the best variables from the attached table would be: GHI (Global Horizontal Irradiance): Unit: Watt per square meter (W/m²) Description: Modeled solar radiation on a horizontal surface received from the sky. Why It’s Important: GHI represents the total solar radiation received on a horizontal plane, including both direct and diffuse solar radiation. It is the primary variable used to estimate the solar energy potential at a given location since it provides a measure of the energy available to solar panels. DNI (Direct Normal Irradiance): Unit: Watt per square meter (W/m²) Description: Modeled solar radiation obtained from the direction of the sun. Why It’s Important: DNI is particularly useful if you are considering concentrated solar power (CSP) systems or tracking solar panels, which are more efficient when they can directly capture sunlight. Clearsky GHI: Unit: Watt per square meter (W/m²) Description: Modeled solar radiation on a horizontal surface assuming clear sky conditions. Why It’s Important: Clearsky GHI provides a baseline estimate of the maximum potential solar radiation under ideal conditions, without the impact of clouds. This is useful for understanding the upper limit of solar potential. Among these, GHI is the most commonly used variable for assessing solar energy potential for typical solar photovoltaic (PV) installations because it represents the actual solar radiation available on a horizontal plane at a specific location. DNI is also critical for systems that track the sun's movement, while Clearsky GHI is useful for comparing potential solar energy under optimal conditions to actual conditions.
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The NSRDB provides time-series data at 30 minute resolution of resource averaged over surface cells of 0.038 degrees in both latitude and longitude, or nominally 4 km in size. The solar radiation values represent the resource available to solar energy systems.
Note on B13: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Dropbox link emailed to me for downloading actual dataset